## Slide 1
Sample Size and margin definition for Multiple endpoints in non-inferiority Clinical Trial
Danila Azzolina, Ileana Baldi, Paola Berchialla, Dario Gregori
Unit of Biostatistics, Epidemiology and Public Health,
Department of Cardiac, Thoracic and Vascular Sciences,
University of Padova (Italy)

## Slide 2: A motivating example: Total Knee Replacement Trial design
Implant A
Implant C Competitors
Randomization to different knee prosthesis implant
1 Year Follow Up
,…, are the
Follow up means over 5 muscle districts
,…, are the
Follow up means over 5 muscle districts
5 Outcomes:
over 5 districts
Purpose of the Trial is to assess the non-inferiority of a Total Knee Replacement (TKR) prosthesis model A versus a generic competitors C in term of strength recovery (measured in µV) over 5 different muscles district, after TKR surgery, at 1-year follow-up visit.

## Slide 3: Critical issues involved clinical trial design
Non inferiority
Definition of the active prosthesis C effect size
Multiplicity
Primary or Co-Primary Endpoint?
Statistical controlling of multiplicity issues
Margin definition
Sample size
estimation

## Slide 4: Non Inferiority: Margin definition
According to FDA guidance:
The entire margin can be no larger than the presumed entire effect M1 of the active control. M1 is estimated based on the historical literature about the active control drug.
It is usual and generally desirable to choose a smaller value, called M2, for the NI margin. The choice of M2 is a matter of clinical judgment, but M2 can never be greater than M1.
In the Total Knee replacement Trial:
To define the M1 threshold, the one year effect of a generic active Total Knee Replacement compared to pre-operatory control knee has been considered. Data are reported from a published literature review.

## Slide 5: Non Inferiority: Margin definition, historical data
FDA suggests considering a Meta-Analysis estimate to obtain the M1 thresholds to summarize available effect about active treatment effect.
Two random effect meta-analysis have been performed for each macro muscles district:
Quadriceps muscles
Hamstrings muscles
Meta Analysis
Active TKR effect evaluation of muscle strengt at one tear FU compared to preoperatory knee
Notes: for example, the study sample size is 475 selected to provide 80 percent power to show success on each of two endpoints (i.e., Type II 476 error rate is 20 percent for each), and the endpoints are entirely independent, the power to show 477 success on both will be just 64 percent (0.8 x 0.8): i.e., the likelihood of the study failing to 478 support a conclusion of a favorable drug effect when such an effect existed (the Type II error 479 rate) would be 36 percent.

## Slide 6: M1 definition: a random effect meta analysis
For quadriceps muscles:
Pooled delta estimate:
2.50 sd=4
Corresponding to a standardized effect size
d=M1=0.62*
*Cohen,1988
For hamstring muscles:
Pooled delta estimate:
1.72 se=3.67
Corresponding to a standardized effect size
d=M1=0.47*

## Slide 7: Non-Inferiority M2 margin
As indicated in literature (Althunian, ‎2017), may be useful to consider an M2 margin ranging between 10% to 40% of the overall M1 active control effect. For TKR trial a 25% of M1 has been considered.
For quadriceps muscles, the M2 noninferiority margin corresponds to 0.62*0.25=0.155
For hamstring muscles, the M2 noninferiority margin corresponds to 0.47*0.25=0.12

## Slide 8: Multiplicity issues in power analysis
Multiple Outcomes Sample Size
Primary Endpoint
Co-Primary Endpoint
Union-Intersection Test statistics
Intersection-Union Test statistics
Power ()
Power ()
Test statistics definition
Non-Inferiority margin
Multiplicity adjustment

## Slide 9: Primary or Co-primary endpoint?
According to clinical judgment and medical literature (Young 2016) a simultaneous improvement among all the muscles involved in the sitting extension movement (Hamstrings and quadriceps) is not feasible.
A Primary Endpoint scenario has been considered in order to evaluate the noninferiority in at least one muscles district
, for all ,
, for at least one
This use of multiple endpoints creates a multiplicity problem.

## Slide 10: Sample size definition
The Sozu approach (Sozu, 2015) adapted to a non-inferiority trial setting for primary endpoints has been considered.
Standardized effect sizes (0.2, 0.5 and 0.8);
An correlation equal to 0.5, a power of 0.8 and an overall type I error rate of 0.05.
A Bonferroni correction for multiplicity.
Table 2 Margin definition criterion for sample size computation
Source of M1 definition | M1 (Active TKR effect) | Criterion for M2 definition | Margin (M2)*
Overall meta-analysis | Pooled estimate (5 studies) | 25% of pooled MA ES | .155 :.12
Schroer 2010 study | Lower 95% CI estimate (1 study) | 25% of lower Bound ES | .12 .11
Berman 1991 study | Lower 95% CI estimate (1 study) | 25% of lower Bound ES | .27 .12
Source of M1 definition | M1 (Active TKR effect) | Criterion for M2 definition | Margin (M2)*
Overall meta-analysis | Pooled estimate (5 studies) | 25% of pooled MA ES | 
Schroer 2010 study | Lower 95% CI estimate (1 study) | 25% of lower Bound ES | 
Berman 1991 study | Lower 95% CI estimate (1 study) | 25% of lower Bound ES | 
: non inferiority margin
for quadriceps
* : non inferiority margin
for hamstrings

## Slide 11: Results
Table 2 Sample size pattern according to effect size and margin definition criteria.
Effect Size | Margin | sample size
0.2 | .155 .12 | 89
0.2 | .12 .11 | 100
0.2 | .27 .12 | 47
0.5 | .155 .12 | 25
0.5 | .12 .11 | 26
0.5 | .27 .12 | 18
0.8 | .155 .12 | 11
0.8 | .12 .11 | 12
0.8 | .27 .12 | 9
Effect Size | Margin | sample size
0.2 |  | 89
0.2 |  | 100
0.2 |  | 47
0.5 |  | 25
0.5 |  | 26
0.5 |  | 18
0.8 |  | 11
0.8 |  | 12
0.8 |  | 9
For greater effect sizes the sample sizes, across non inferiority margins, are more similar
Generally sample size increase in decreasing margin.
The pooled meta analysis estimate is a good compromise between a margin derived by a an optimistic and a pessimistic active control effect size

## Slide 12: Conclusion
Approaching to a sample a size estimation problem, in non-inferiority design with multiple outcomes, it is possible to define an appropriate design method consulting available guidelines.
Moreover, many sources of uncertainty are available when an undefined treatment has been chosen as an active comparator.
The clinical judgment seems to be a relevant aspect of the margin definition especially when an undefined active treatment comparator has been considered.

## Slide 13
Thank you for your attention!!!!

## Slide 14: Peculiarities of non inferiority design for multiple outcome definition (Wiens, 2017)
Multiplicity problems related to superiority assessment after non-inferiority test procedures
Results in noninferiority trial are defined in term of confidence interval instead of P-Value and point estimate
Noninferiority margin has to be defined and may be different for all involved study outcome according to literature
Multiplicity adjustments have to be performed on alpha instead of P-Value in noninferiority design
Consistency and assay in noninferiority design