## Slide 1: Dynamic Power Priors: Acceptance by Regulators, Sponsors, & Clinicians and their role in reproducibility problem
Jason Connor
May 22, 2018
SCT Portland

## Slide 2: Disclosures
Currently independent biostatistical consultant
Previously at Berry Consultants LLC
  Former paid consultant for Medtronic, Spectranetics, LivaNova, and Atritech
No current relationships or stakes in companies mentioned here

## Slide 3: Why am I here
Former Berry Consultant where I designed many Bayesian and adaptive trials
Many using hierarchical models incorporating historical data
Have served on 20+ FDA advisory panels
  4 years on Gastroenterology & Urology Panel
  4 years on Neurologic Devices Panel
  Pinch hit on many others

## Slide 4: Examples of borrowing
Spectranetics
  Arterial stenosis
  Borrowing from 1-arm EU trial in 2-arm US RCT
Livanova
  Epilepsy
  Borrowing from 4 prior trials, factoring adult/peds, in Japanese peds trial
  Updated label to include 4-12 year-olds in whom epilepsy meds have failed
Boston Scientific
  Atrial fibrillation
  WATCHMAN device borrowed 50% discounted data from previous trial
Others ongoing / not yet publicly available
Them: “FDA will never go for that!” Me: “Well, they have.”

## Slide 5: Directly relevant to reproducibility of research
Current belief (sometimes in some people) that latest trial is the best evidence
  Certainly in terms of the media
  Also human nature to weigh the recent past too much
Real world is decision making based on accumulation of data
How to incorporate new information?
  Power prior allows this to be done systematically, reproducibly, and prospectively
How to weigh new vs. old information
  Due to time, due to quality, due to reliability, due to new Gen-devices
  Let data speak for itself and put a weight on the power

## Slide 6: Communicating the influence of historical data on clinical trial designs
2 examples in design stage – communication to FDA & design team
2 examples in FDA label – communication to clinicians

## Slide 7: Example 1: Communicating the Influence of the Prior
Spectranetics
1-arm EU trial
Efficacy = 63/80=79%
Showed point estimate and 95% CI width using
  Chosen prior weight
  Larger & smaller options
  No borrowing

## Slide 8: Example 2: Communicating the Influence of the Prior
Previous trial was close but not significant
New Trial N=90 vs. 90
For observed control rate of 13%, show estimate & CI vs. range of observed treatment rates
  Stand alone RED
  Bayesian HM Blue
  Pooled data Gray
13% OBSERVED CONTROL RATE

## Slide 9: Example 2: Communicating the Influence of the Prior
13% OBSERVED CONTROL RATE
Previous trial was close but not significant
Only 4 out of 90 outcomes (for control 12/90=13%) does prior change the inference
These were relatively likely outcomes
Increased Power by 10% & Type I error ~5%
No borrowing:
Need 26+ success
for ‘significance
Hierarchical borrowing:
Need 22+ success for ‘significance

## Slide 10: Example 1: Communicating the Results in Label

## Slide 11: Example 2: LivaNova Vegus Nerve Stimulator
Here the HM attenuates the effect size whereas
Dynamic Power Prior would down weight the prior data more

## Slide 12: Can make sample size adaptive based on amount of borrowing
Spectranetics had adaptive sample size
  Very natural: End with ~same amount of data, different paths to obtain it
  Prospective data more similar to historical  more borrowing  less new data needed
  Prospective data less similar to historical  less borrowing  more new data needed
Controls may be well understood
  Consider 3:1 randomization treatment : control
    Borrow heavily from historical controls
    More safety data on new treatment
  If controls are dissimilar adaptively change to 2:1 or even 1:1
    Keeps final ‘effective’ information closer to 1:1 for most efficient trial

## Slide 13: Strengths of the Discount Power Prior
Easy to compute (pretty irrelevant to me)
  Still easier than enrolling more patients
Easy to interpret
Type I error control seems to be better than
Hierarchical models
Increases precision of effect size estimates
  Again back to reproducibility
  Integrates old with new information
  May still overweight new data
  Who says the new data is the ‘right’ data?

## Slide 14: Weaknesses of the Discount Power Prior
Not 100% Bayesian (may be irrelevant to you)
  Bayesians integrate over all uncertainty
  Discount weight is calculated without uncertainty
  Used as a fixed power prior (Fixed just not pre-specified)
Exchangeability
  Power prior assumes patient-level exchangeability
  Hierarchical models assume study-level exchangeability
Next step:
  Estimate a0 using its own prior, integrate over uncertainty in a0
  Especially important if used in an adaptive trial, a0 will change less interim to interim with more predictable stopping rules

## Slide 15: Bayes, Borrowing, Power Priors, & the Reproducibility Conundrum
“Don’t throw away the outliers, study them” – Jay Kadane
If two trials are substantially different, what does that tell us about the next trial?
How does it predict the performance in the clinic?
Why is the most recent one the right one?
Why is the most recent one the more important one?
Is providing more weight to the last trial and increasingly less to the old trial the right solution?
Not a criticism of the dynamic power prior, or any prior
  Bigger philosophical decision making questions
Not a criticism of Bayesian methods
  Data integration and continuous learning not handled at all by frequentist methods